- HPLC system

Instrument details:

High-Performance Liquid Chromatography (HPLC) is a powerful analytical technique used

to separate, identify, and quantify components in a mixture. It is widely employed in various

fields such as Biotechnology, Microbiology, Pharmaceuticals, Environmental testing, Food

Safety and Biochemical research.

| Name of Instrument | Dionex Ultimate 3000 UHPLC with Autosampler |
| --- | --- |
| Make/Company | Thermo Fisher Scientific |
| Column available | C18 Inertsil ODS |
| Detector | PDA UV Detector |
| Software | Chromeleon™ 7 software version 7.1.1.1127 |
| Location | HPLC Room, Molecular Biology Laboratory, Anviksha First Floor, GSFC University. |
| Equipment Manager | Ms.Khushbu Verma |
| Contact details | khushbu.verma@gsfcuniversity.ac.in , 9712140957 |

Cost of Analysis/Run

| For Students/PhD Scholars, Research Scholars (JRF, SRF) | ₹500 + 18% GST |
| --- | --- |
| For Academicians | ₹750 + 18% GST |
| For Industries | ₹1500 + 18% GST |
| Note: Cost may vary depending on the nature and complexity of the sample and type of analysis reagent Client can bring their own HPLC grade reagents for mobile phase preparation |  |

Pre-requisite for the Run

- Samples can be solid or liquid but must be soluble in the selected mobile phase. - The analyte must be fully soluble in the mobile phase to be used. - Sample should be transparent without any turbidity or particles. - Filtration through 0.22 μm, 0.45 μm syringe filters is mandatory. - Samples should be free of particulates and not excessively viscous. - The client is expected to know details about retention time, mobile phase composition, column type, detection wavelength, flow rate, and compound polarity

Faculty Profile

Ms.Khushbu Verma

Assistant Professor

Department of Life-Sciences,

School of Science | GSFC University

Ms. Khushbu Verma is currently serving as a faculty member in the Department of Life Sciences, GSFC University. She has qualified CSIR-UGC NET (LS-AIR-54) in life sciences (2021). Her research interests lie in antimicrobial resistance (AMR), efflux-mediated multidrug resistance, and molecular microbiology. She is pursuing her PhD in Biotechnology, focusing on resistance determinants in Klebsiella pneumoniae. She is currently working on molecular biology techniques, phenotypic assays, and genomic analysis using next-generation sequencing (NGS) and bioinformatics pipelines.

- RT-PCR

Instrument details:

| Name of Instrument | Insta-Q96 |
| --- | --- |
| Make/Company | HiMedia |
| No. of channels | 6 |
| Multiplexing | 6 Color |
| Dynamic range | 1 ∼ 10 10 copies |
| Detected Fluorescence | F1: FAM, SYBR F2: HEX, TET, VIC, JOE, NIC F3: ROX, TEXAS-RED F4: CY5 F5: CY5.5 F6: CY3, NED, TAMRA |
| Passive reference dye | ROX or other not required (Optional) |
| Gradient Temperature Range | 1∼ 36°C |
| Feature Function | - Absolute Quantification - Automatic Data Analysis - Melt Curve - Genotyping - Gradient - Relative Quantification - HRM - SNP Analysis |
| Software | Insta-Q Series |
| Location | Molecular Biology Laboratory, Anviksha First Floor, GSFC University. |
| Certifications | CE-IVD and ANVISA approved |
| Equipment Manager | Ms.Purvi Trivedi |
| Contact details | purvi.trivedi@gsfcuniversity.ac.in, 9727709225 |

Cost of Analysis

| For Students/PhD Scholars, Research Scholars (JRF, SRF) | ₹500 + 18% GST |
| --- | --- |
| For Academicians | ₹1000 + 18% GST |
| For Industries | ₹2000 + 18% GST |
| Note: Cost may vary depending on the nature and complexity of the sample and type of analysis. |  |

Pre-requisite for the Run

- Individuals are advised to carry their own products/kits/master mix/plastic wares for the run. - Micropipette will be provided.

Faculty Profile

Ms. Purvi Trivedi

Assistant Professor

Dept. Of LifeSciences

School of Science | GSFC University

Ms. Purvi Trivedi has completed her graduation and post-graduation in Microbiology and

hasmore than 10 years of experience in Research, academics and Industry. She has worked

as a JRF at CSMCRI, Bhavnagar and Department of Life Science, Bhavnagarwhere her Research work focused primarily on exploration of Marine Microbes and Cyanobacteria. She was also associated with Haffkins Institute, Mumbai as SRF in the Department of Virology,and her worked focused on mutational shift in Influenza virus. She has also done PG Certification in Clinical Research and Data Management from Dept. Of Bioinformatics, University of Pune.She has worked as HoD, Dept. Of Microbiology, N. B Mehta College affiliated to Mumbai University and KBS Science College, Vapi, affiliated to VNSGU. On account of her wide experience in Industry and Academia, she has expertise in designing syllabus and practical sessions as per current Industry requirements. She also has over 8 years of Industrial experience. She has done certification in Total Quality Management (QMS) ISO 9001:2015, HACCP, Codex and Hazard analysis for Food and Pharma manufacturing and Food Safety standards (ISO 22000) and has worked as a Consultant, Trainer and Internal Auditor for many food Industries in and around Vapi. At present, she is pursuing her researchon antimicrobial resistance and has undergone training at GBRC in Molecular Techniques, basic bio-informatics and metagenomic analysis.

- Thermal Cycler PCR

| Name of the Instrument | T100 Thermal Cycler |
| --- | --- |
| Make/Company | Bio-Rad |
| Sample capacity | 96x0.2mLtubes,0.2mL tube strips, or 1x96-wellplate |
| Volume | 1–100μL (15–100μLrecommended) |
| Maximum ramp rate | 4°C/sec |
| Average ramp rate | 2.5°C/sec |
| Lid temperature | 40–110°C |
| Heating and cooling method | Peltier |
| Temperature range | 4–100°C |
| Gradient capability | Yes |
| Gradient operational range | 30–100°C |
| Temperature differential range | 1–25°C |
| Temperature accuracy | ± 0.5°Cof programmed target |
| Temperature uniformity | ± 0.5°C well-to-well within 30 sec of arrival at target temperature |
| Reporting | Exportable run logs and system logs |
| Port | 1USBA |
| Location | Molecular Biology Laboratory, Anviksha First Floor, GSFC University. |
| Equipment Manager | Ms.Khushbu Verma |
| Contact details | khushbu.verma@gsfcuniversity.ac.in , 9712140957 |

Cost of Analysis

| For Students/PhD Scholars, Research Scholars (JRF, SRF) | ₹500 + 18% GST per run |
| --- | --- |
| For Academicians | ₹1000 + 18% GST per run |
| For Industries | ₹1500 + 18% GST per run |
| - Note: Cost may vary depending on the nature and complexity of the sample and type of analysis. - Individuals are advised to carry their own products/kits/master mix/plastic wares for the run. - Micropipette will be provided. |  |

Faculty Profile

Ms.Khushbu Verma

Assistant Professor

Department of Life-Sciences,

School of Science | GSFC University

Ms. Khushbu Verma is currently serving as a faculty member in the Department of Life Sciences, GSFC University. She has qualified CSIR-UGC NET (LS-AIR-54) in life sciences (2021). Her research interests lie in antimicrobial resistance (AMR), efflux-mediated multidrug resistance, and molecular microbiology. She is pursuing her PhD in Biotechnology, focusing on resistance determinants in Klebsiella pneumoniae. She is currently working on molecular biology techniques, phenotypic assays, and genomic analysis using next-generation sequencing (NGS) and bioinformatics pipelines.

- Bio Spec-nano Spectrophotometer/Nanodrop

| Name of Instrument | Bio Spec-nano Spectrophotometer |
| --- | --- |
| Make/Company | Shimadzu |
| Detector | Photo Diode Array |
| Measuring Wavelength | 220 to 800 nm |
| Light source | Xenon flash lamp |
| Analysis supported by the Instrument | For the quantitation of RNA, dsDNA, ssDNA, and OligoDNA. Protein Quantitation Labeled Protein Quantitation Mode |
| Location | Molecular Biology Laboratory, Anviksha First Floor, GSFC University. |
| Equipment Manager | Ms.Khushbu Verma |
| Contact details | khushbu.verma@gsfcuniversity.ac.in , 9712140957 |

Cost of Analysis

| For Students/PhD Scholars, Research Scholars (JRF, SRF) | ₹50 + 18% GST per sample |
| --- | --- |
| For Academicians | ₹70 + 18% GST per sample |
| For Industries | ₹100 + 18% GST per sample |
| Note: Cost may vary depending on the nature and complexity of the sample and type of analysis. Client must bring the required authenticated blank/buffer for the experiment. |  |

Faculty Profile

Ms.Khushbu Verma

Assistant Professor

Department of Life-Sciences,

School of Science | GSFC University

Ms. Khushbu Verma is currently serving as a faculty member in the Department of Life Sciences, GSFC University. She has qualified CSIR-UGC NET (LS-AIR-54) in life sciences (2021). Her research interests lie in antimicrobial resistance (AMR), efflux-mediated multidrug resistance, and molecular microbiology. She is pursuing her PhD in Biotechnology, focusing on resistance determinants in Klebsiella pneumoniae. She is currently working on molecular biology techniques, phenotypic assays, and genomic analysis using next-generation sequencing (NGS) and bioinformatics pipelines.

- Bioreactor/Fermentor 12L

| Name of Instrument | Bioreactor Assembly (Microbial Fermentation) |
| --- | --- |
| Make/Company | SCIGENICS |
| Capacity | 12 Litre |
| Analysis supported by the Instrument | Indicates microbial metabolic activity maintained to optimize growth/product formation, Reflects oxygen availability; critical for aerobic fermentation, Controlled for optimal microbial activity |
| Location | Microbiology Lab (Anviksha 1st Floor) |
| Equipment Manager | Dr. Ankit Sudhir |
| Contact details | ankit.sudhir@gsfcuniversity.ac.in , 9998474361 |

Cost of Analysis

| For Students/PhD Scholars, Research Scholars (JRF, SRF) | ₹500 + 18% GST per day |
| --- | --- |
| For Academicians | ₹750 + 18% GST per day |
| For Industries | ₹1500 + 18% GST per day |
| Note: Cost may vary depending on the nature and complexity of the sample and type of analysis. |  |

Pre-requisite for the Run

- Bioreactor vessel, pipelines, valves, and fittings must be sterilized - Culture media and all glassware/tools must be sterilized to prevent contamination. - Ensure proper assembly of the bioreactor (agitator, sparger, pH & DO probes, temperature probes, sampling ports, etc.). - Verify calibration of pH probe, DO (Dissolved Oxygen) ,Temperature sensor. - Media Preparation - Prepare nutrient media according to protocol - Check pH and adjust if required. - Inoculum Preparation

Faculty Profile

Dr.Ankit Sudhir

Sr. Assistant Professor

Dept. Of Life Sciences, School of Science | GSFC University

Dr. Ankit Sudhir is a skilled researcher and academician with expertise in protein engineering, enzyme biotechnology, and microbial bioprocessing. His research focuses on enhancing the catalytic efficiency and stability of industrially and therapeutically important enzymes using tools like PCR-based site-directed mutagenesis. His doctoral work led to improved catalytic performance and reduced side effects of L-asparaginase from Bacillus licheniformis, relevant to Acute Lymphoblastic Leukemia (ALL) therapy. He has served as a Postdoctoral Research Associate at GSBTM’s Marine Bioresource Centre and successfully led funded projects on microbial enzyme discovery and characterization. With over 8

years of teaching experience at GSFC University, he has contributed to curriculum development, lab infrastructure, and student mentorship at both UG and PG levels. Dr. Sudhir has strong industry linkages and has provided consultancy in biocatalysis, including a recent project on API bioconversion using bioenzymes. He has multiple publications in high-impact international journals and has actively participated in faculty development, student innovation mentoring (SSIP), and organizing academic events. His work spans applied microbiology, enzyme production, and process optimization, and he continues to be open to academic, industrial, and consultancy collaborations in biotechnology and related domains.

- Microplate Reader

| Name of Instrument | MaxSignal 4302 Microplate Reader |
| --- | --- |
| Make/Company | Perkin Elmer |
| Detector | Photo Diode Array |
| Filters | Four-filter model 405, 450, 492 and 630 nm. |
| Light source | Halogen lamp |
| Analysis supported by the Instrument | Invitro Diagnostics |
| Vessel | Standard 96 well plates or strip trays |
| Location | Molecular Biology Laboratory, Anviksha First Floor, GSFC University. |
| Equipment Manager | Ms.Khushbu Verma |
| Contact details | khushbu.verma@gsfcuniversity.ac.in , 9712140957 |

Cost of Analysis

| For Students/PhD Scholars, Research Scholars (JRF, SRF) | ₹300 + 18% GST per run |
| --- | --- |
| For Academicians | ₹500 + 18% GST per run |
| For Industries | ₹1000 + 18% GST per run |
| Note: Cost may vary depending on the nature and complexity of the sample and type of analysis. Client must bring the required authenticated blank/buffer for the experiment. |  |

Faculty Profile

Ms.Khushbu Verma

Assistant Professor

Department of Life-Sciences,

School of Science | GSFC University

Ms. Khushbu Verma is currently serving as a faculty member in the Department of Life Sciences, GSFC University. She has qualified CSIR-UGC NET (LS-AIR-54) in life sciences (2021). Her research interests lie in antimicrobial resistance (AMR), efflux-mediated multidrug resistance, and molecular microbiology. She is pursuing her PhD in Biotechnology, focusing on resistance determinants in Klebsiella pneumoniae. She is currently working on molecular biology techniques, phenotypic assays, and genomic analysis using next-generation sequencing (NGS) and bioinformatics pipelines.

- Inverted Fluorescence Microscope

| Name of Instrument | The Inverted Fluorescence Microscope |
| --- | --- |
| Make/Company | Nikon |
| Analysis supported by the Instrument | Diagnostic Imaging, Fluorescence Study |
| Location | Animal Tissue Culture lab, Anviksha Ground floor |
| Equipment Manager | Dr.Akhilesh Prajapati |
| Contact details | akhilesh.prajapati@gsfcuniversity.ac.in 9428216262 |

Cost of Analysis

| Collaborations | ₹1 Lakh per project. (20-25 hours per year) |
| --- | --- |
| Diagnostic Imaging | ₹750 per sample 1,500/- Sample for Fluorescent Study (excluding antibodies)*. |
| Workshops: | ₹7,000 per participant.( 2 days workshop) |
| Consulting Services | ₹15,000 per project/month.( Image analysis and discussion) |
| An additional 18% GST will be applicable on all standard charges. |  |
| Charges mentioned will be doubled for Industry purpose. |  |
| Note: Cost may vary depending on the nature and complexity of the sample and type of analysis. Client must bring the required authenticated blank/buffer for the experiment. |  |

Faculty Profile

Dr. Akhilesh Prajapati

Sr. Assistant Professor

Dept. Of Life Sciences,

School of Science | GSFC University

Dr. Akhilesh Prajapati is a senior Assistant Professor in the Department of Life Science at GSFC University, specializing in cancer biology, molecular therapeutics, and stem cell research. He earned his PhD in Biochemistry with a focus on benign prostate hyperplasia (BPH), where he developed an economical BPH rodent model and established a novel human-derived BPH cell line to advance prostate cancer research. Dr. Prajapati has secured major funded research projects worth ₹1.23 crore from GSBTM and DST, published in high-impact journals, and serves as an editorial board member for several international journals. He has received various research awards, including the prestigious INSA Visiting Scientist Fellowship, and is dedicated to mentoring students, advancing cancer research, and fostering interdisciplinary collaborations.